## Sheet1
LabPulse Sensor | Reading Type | Quantity | Sensor Hub | Room | Observed Status
GE-1337 Water Temp Sensor | Water Temperature | 4 | Pump Room Hub | Pump Room | Working
DHT11 | Air Temp/Humidity | 1 | Pump Room Hub | Pump Room | Working
Gravity Water Flow Sensor | Flow Rate | 2 | Pump Room Hub | Pump Room | Present - 0 Reading
Triton 1/2 (Unknown Model) | Pressure | 2 | Pump Room Hub | Pump Room | Present - 0 Reading
Gravity Water Flow Sensor | Flow Rate | 2 | Turbo Pump | Cryogenics Room | Present - 0 Reading
GE-1337 Water Temp Sensor | Water Temperature | 4 | Turbo Pump | Cryogenics Room | 2/4 Work | Pump Room | Pump Room
DHT11 | Air Temp/Humidity | 1 | Pi DHT11 | Cryogenics Room | Working
UPS Hat (ITS NOT THIS) | Power | 1 | Pi UPS Hat | Cryogenics Room | Working | Turbo Pump | Cryogenics Room
DFRobot SEN0257 | Air Pressure | 1 | Pressure Hub | ??? | Working | Pi DHT11 | Cryogenics Room